Summary of the characteristics of the device

(MD or IVD)

Preamble

ANSM wishes to gather information concerning new medical devices (MD) put on the French market. The summary of the characteristics of the device (SCD) allows manufacturers, authorized representatives, and distributors of medical devices to provide information relating their MD’s characteristics.

The SCD can be considered as an identity card of the MD, summarizing the essential elements of the CE marking file. It is based on the document entitled “Device Information Bulletin (DIB)” presented by the previous working group of the European Commission on Innovation (the Transparency group).

The SCD helps the ANSM in its market surveillance and innovative MD monitoring missions by acquiring accurate information on devices or category of devices. This information will be shared within ANSM, objective being to avoid repeated requests to the manufacturer, the authorized representative, or to the distributor.

ANSM commits itself to respect the confidentiality of the information obtained within the frame of this document. It commits itself not to broadcast them to other parties without prior approval of concerned societies.

There is no legal obligation to fill in this document. However, SCD could become necessary for the implementation of CE marking procedures. Actually, directive 2007/47/EEC of the European parliament and of the council of September 5th, 2007 changes the article 20 of directive 93/42/EEC in these terms: “The measures designed to amend non-essential elements of this Directive, inter alia by supplementing it, relating to determination of the conditions under which other information may be made publicly available, and in particular for Class IIb and Class III devices to any obligation for manufacturers to prepare and make available a summary of the information and data related to the device, shall be adopted in accordance with the regulatory procedure with scrutiny referred to in Article 7(3).”

The SCD could be available on the ANSM website to the attention of healthcare professionals and the public. A preliminary work of consultation of the professionals will be assessed for the choice of the information which would make the object of such broadcasting.

Summary

Part I : IDENTIFICATION OF THE DEVICE	3

I-1 Manufacturer / authorized representative / distributor	3

I-2 Device	3

I-3 GMDN classification (Global Medical Device Nomenclature)	4

Part II : STATUS OF THE DEVICE	5

II-1 Applicable regulation	5

II-2 Class of the device	5

II-3 Device composition	5

II-4 Claim of conformity to the transverse standards	6

Part III : POSITIONING OF THE DEVICE IN THE THERAPEUTIC SET	7

III-1 Medical indications	7

III-2 Rational for development of the device	7

III-3 Concerned therapeutics	7

III-4 Target population	8

III-5 Target users	9

III-6 Existing alternatives	9

III-7 Iteration of a pre-existing devicet	9

III-8 Degree of novelty of the device (see degrees of novelty card for a medical device)	9

III-9 Impact on clinical practices	10

Part IV : PRECLINICAL ASSESSMENT	11

IV-1 Progress of preclinical assessment	11

IV-2 Claim of conformity to the preclinical standards	11

IV-3 Preclinical information	11

IV-4 Sterilization of the device	11

Part V : CLINICAL ASSESSMENT	12

V-1 Progress of clinical assessment	12

V-2 Claim of conformity to the clinical standards	12

V-3 Clinical informations	12

V-4 Clinical data	12

V-5 Clinical follow-up	13

Part VI : PERFORMANCES OF THE DEVICE	14

VI-1 Progress of performances assessment	14

VI-2 Performances quantification	14

Part VII : CE MARKING AND MARKETING OF THE DEVICE	15

VII-1 Progress in order to CE mark	15

VII-2 CE marking	15

VII-3 Presence on the market	15

VII-4 Internet	15

VII-5 Intention of submit a fill to the French Haute Autorité de Santé (HAS)	16

| # Part I : IDENTIFICATION OF THE DEVICE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ## I-1 Manufacturer / authorized representative / distributor |  |  |  |  |  |
|  | Information on the companies concerned by the device |  | Manufacturer (according to regulations) | Authorized representative (if applicable) | Distributor in France (in case of several distributors, a list with information about the other distributors must be attached to this document) |
| a | Full name |  |  |  |  |
| b | Postal address |  |  |  |  |
| c | Phone number |  |  |  |  |
| d | Fax number |  |  |  |  |
| e | Website |  |  |  |  |
| g | Contact information |  | Madam/Mister/First name-Name/Functions |  |  |
| h | E-mail |  |  |  |  |
| ## I-2 Device |  |  |  |  |  |
| a | Trade name |  |  |  |  |
| b | Catalogue number |  |  |  |  |
| c | Description / technical principle |  |  |  |  |
| d | Type of the device |  |  |  |  |
|  |  | Implant |  |  |  |
|  |  | Consumable |  |  |  |
|  |  | Equipment |  |  |  |
|  |  | Instrument |  |  |  |
|  |  | Software |  |  |  |
|  |  | Reagent |  |  |  |
|  |  | Sample container |  |  |  |
|  |  | Device for self-test |  |  |  |
|  |  | Accessory |  |  |  |
|  |  | Other, specify |  |  |  |
| e | Detailed diagram and/or picture of the device |  | Insert the picture below and specify the copyright |  |  |

| ## I-3 GMDN classification (Global Medical Device Nomenclature) |  |  |  |
| --- | --- | --- | --- |
| a | Category |  |  |
|  |  | In-vitro diagnostic medical devices |  |
|  |  | Active implantable devices |  |
|  |  | Anaesthetic and respiratory devices |  |
|  |  | Dental devices |  |
|  |  | Electro mechanical medical devices |  |
|  |  | Hospital hardware |  |
|  |  | Laboratory equipment |  |
|  |  | Non-active implantable devices |  |
|  |  | Active implantable medical devices (AIMD) |  |
|  |  | Ophthalmic and optical devices |  |
|  |  | Reusable instruments |  |
|  |  | Single-use devices |  |
|  |  | Assistive products for persons with disability |  |
|  |  | Diagnostic and therapeutic radiation devices |  |
|  |  | Complementary therapy devices |  |
|  |  | Biologically-derived devices |  |
|  |  | Healthcare facility products and adaptations |  |
| b | Subcategory |  |  |
|  |  | Reanimation/perfusion/anesthesia |  |
|  |  | Vascular/cardiology |  |
|  |  | General surgery |  |
|  |  | Orthopaedic surgery |  |
|  |  | Reconstructive/plastic surgery |  |
|  |  | Visceral surgery |  |
|  |  | Gastroenterology/hepatology |  |
|  |  | Medical imagery |  |
| c | GMDN code and definition |  |  |

| # Part II : STATUS OF THE DEVICE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## II-1 Applicable regulation |  |  |  |  |  |  |  |  |
| a | European directive |  |  |  |  |  |  |  |
|  |  | 90/385/EEC concerning active implantable medical devices |  |  |  |  |  |  |
|  |  | 93/42/ EEC concerning medical devices |  |  |  |  |  |  |
|  |  | 98/79/ EEC concerning in-vitro diagnostic medical devices |  |  |  |  |  |  |
|  |  | 2007/47/ EEC concerning medical devices |  |  |  |  |  |  |
|  |  | 2003/32/ EEC concerning medical devices manufactured utilising tissues of animal origin |  |  |  |  |  |  |
|  |  | Other, specify |  |  |  |  |  |  |
| b | Conformity assessment procedure (Specify implemented annexes) |  |  |  |  |  |  |  |
| ## II-2 Class of the device |  |  |  |  |  |  |  |  |
| a | Medical device, specify the classification rule and paragraph |  |  |  |  | Refer to the annex IX of the 93/42/EEC directive and MEDDEV 2.4/1 Guidelines for the classification of medical devices |  |  |
|  |  | Class I |  | sterile with a measuring function |  |  |  |  |
|  |  | Class IIa |  |  |  |  |  |  |
|  |  | Class IIb |  |  |  |  |  |  |
|  |  | Class III |  |  |  |  |  |  |
|  |  | Active implantable medical device (AIMD) |  |  |  |  |  |  |
| b | In-vitro diagnostic medical device Refer to the annex II of the 98/79/EEC directive |  |  |  |  |  |  |  |
|  |  | IVD from the annex II, list A. Specify the type of the device |  |  |  |  |  |  |
|  |  | IVD from the annex II, list B. Specify the type of the device |  |  |  |  |  |  |
|  |  | Device for self-testing other than those covered by annex II |  |  |  |  |  |  |
|  |  | Other IVD |  |  |  |  |  |  |
| ## II-3 Device composition |  |  |  |  |  |  |  |  |
| a | Device composition |  |  |  | List elements or materials contained in the device |  |  |  |
| b | Device containing a medicinal product (2001/83/EEC directive) |  |  |  |  |  | yes no |  |
|  | Kind of the product |  |  |  |  |  |  |  |
|  | Competent regulatory body |  |  |  |  |  |  |  |
|  | Usefulness to add this product |  |  |  |  |  |  |  |
| c | Device incorporating a stable derivates of human blood or human plasma (2000/70/EEC and 2001/104/EEC directives) |  |  |  |  |  | yes no |  |
|  | Kind of the derivate |  |  |  |  |  |  |  |
|  | Competent regulatory body |  |  |  |  |  |  |  |
|  | Usefulness to add this element |  |  |  |  |  |  |  |
| d | Device utilising tissues of animal origin |  |  |  |  |  | yes no |  |
|  | Kind of the element |  |  |  |  |  | (Ex : collagen) |  |
|  | Source / Origin |  |  |  |  |  | (Ex : pig, bovine) |  |
|  | Usefulness to add this element |  |  |  |  |  |  |  |
| e | Device containing nano-elements |  |  |  |  |  | yes no |  |
|  | Kind of elements |  |  |  |  |  |  |  |
|  | Usefulness to add these elements |  |  |  |  |  |  |  |
| f | Device containing an artificial radionuclide |  |  |  |  |  | yes no |  |
| g | Device emitting ionising radiation |  |  |  |  |  | yes no |  |
| h | Device containing latex |  |  |  |  |  | yes no |  |
| i | Device containing phtalates |  |  |  |  |  | yes no |  |
| j | Other information |  |  |  |  |  |  |  |
| ## II-4 Claim of conformity to the transverse standards |  |  |  |  |  |  |  |  |
|  | EN ISO 13485 Medical devices - Quality management systems - Requirements for regulatory purposes |  |  |  |  |  |  |  |
|  | EN ISO 14971 Medical devices - Application of risk management to medical devices |  |  |  |  |  |  |  |
|  | Other frame of reference, specify |  |  |  |  |  |  |  |

| # Part III : POSITIONING OF THE DEVICE IN THE THERAPEUTIC SET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ## III-1 Medical indications |  |  |  |  |  |  |  |
| a | Intended purpose / medical indication |  |  |  |  |  |  |
| b | Associated medical acts |  |  |  |  |  |  |
| ## III-2 Rational for development of the device |  |  |  |  |  |  |  |
| ## III-3 Concerned therapeutics |  |  |  |  |  |  |  |
| a | Medical device |  |  |  |  |  |  |
|  |  | Intensive care/perfusion/anesthesia |  |  |  |  |  |
|  |  | Cardiology/vascular |  |  |  |  |  |
|  |  | Carcinological surgery |  |  |  |  |  |
|  |  | Cardiovascular and thoracic surgery |  |  |  |  |  |
|  |  | Digestive and visceral surgery |  |  |  |  |  |
|  |  | General surgery |  |  |  |  |  |
|  |  | Maxillo-facial surgery |  |  |  |  |  |
|  |  | Neurological surgery |  |  |  |  |  |
|  |  | Orthopaedic and traumatological surgery |  |  |  |  |  |
|  |  | Plastic surgery and reconstructrice surgery |  |  |  |  |  |
|  |  | Dental |  |  |  |  |  |
|  |  | Dermatology |  |  |  |  |  |
|  |  | Endocrinology |  |  |  |  |  |
|  |  | Gastroenterology/hepatology |  |  |  |  |  |
|  |  | Genomic |  |  |  |  |  |
|  |  | Gerontology |  |  |  |  |  |
|  |  | Gynecology/obstetric |  |  |  |  |  |
|  |  | Hemodialysis |  |  |  |  |  |
|  |  | Hygiene/nosocomiale infection/care |  |  |  |  |  |
|  |  | Medical imagery/radiology |  |  |  |  |  |
|  |  | Kinesitherapy |  |  |  |  |  |
|  |  | General practice |  |  |  |  |  |
|  |  | Nuclear medicine |  |  |  |  |  |
|  |  | Nephrology |  |  |  |  |  |
|  |  | Neurology |  |  |  |  |  |
|  |  | Odontology/stomatology |  |  |  |  |  |
|  |  | Oncology/cancerology |  |  |  |  |  |
|  |  | Ophthalmology |  |  |  |  |  |
|  |  | Oto-rhino-laryngology |  |  |  |  |  |
|  |  | Parodontology |  |  |  |  |  |
|  |  | Physiology |  |  |  |  |  |
|  |  | Pneumology |  |  |  |  |  |
|  |  | Radiotherapy |  |  |  |  |  |
|  |  | Re-education/medical rehabilitation |  |  |  |  |  |
|  |  | Transfusion |  |  |  |  |  |
|  |  | Urology |  |  |  |  |  |
|  |  | Other, specify |  |  |  |  |  |
| b | In-vitro diagnostic medical device |  |  |  |  |  |  |
|  |  | Anatomo-pathology |  |  |  |  |  |
|  |  | Bacteriology |  |  |  |  |  |
|  |  | Biochemistry |  |  |  |  |  |
|  |  | Cells culture |  |  |  |  |  |
|  |  | Genetics |  |  |  |  |  |
|  |  | Haematology |  |  |  |  |  |
|  |  | Immuno-haematology |  |  |  |  |  |
|  |  | Immunology |  |  |  |  |  |
|  |  | Parasitology/mycology |  |  |  |  |  |
|  |  | Virology |  |  |  |  |  |
|  |  | Other, specify |  |  |  |  |  |
| ## III-4 Target population |  |  |  |  |  |  |  |
| a | Gender |  |  |  |  | male female |  |
| b | Age range |  |  |  |  |  |  |
| c | Concerned pathology |  |  |  |  |  |  |
| d | Number of patients affected in France |  |  |  |  |  |  |
| e | Number of devices involved (aim of this summary) in France (sales forecast per year) |  |  |  |  |  |  |
| ## III-5 Target users |  |  |  |  |  |  |  |
|  | Healthcare professionals |  |  |  |  |  |  |
|  | Patients (condoms, self test, etc.) |  |  |  |  |  |  |
|  | Biologists |  |  |  |  |  |  |
|  | Other, specify which |  |  |  |  |  |  |
| ## III-6 Existing alternatives |  |  |  |  |  |  |  |
|  | Similar device, precise |  |  |  |  |  |  |
|  | Different device, precise |  |  |  |  |  |  |
|  | Surgical procedure, precise |  |  |  |  |  |  |
|  | Medicinal treatment, precise |  |  |  |  |  |  |
|  | Other, precise |  |  |  |  |  |  |
|  | None |  |  |  |  |  |  |
| ## III-7 Iteration of a pre-existing device |  |  |  |  |  |  |  |
| a | yes no |  |  |  |  |  |  |
| b | If yes, which one ? |  |  |  |  |  |  |
| c | If yes, modification |  |  | of the intented purpose / medical indication |  |  |  |
|  |  |  |  | of the quality system (Modification of the manufacturing process, etc.) |  |  |  |
|  |  |  |  | of the design |  |  |  |
|  |  |  |  | of the performance (Decrease of the detection threshold, etc.) |  |  |  |
|  |  |  |  | of the users population |  |  |  |
|  |  |  |  | Other, specify |  |  |  |
| ## III-8 Degree of novelty of the device (see degrees of novelty card for a medical device) |  |  |  |  |  |  |  |
| a | Technological interest |  |  |  | Briefly describe the technologic advance supplied by this device |  |  |
| b | Clinical interest |  |  |  | Briefly describe the clinical advance supplied by this device (for the patient) |  |  |
| c | Degree of novelty (Fulfill this item only if the device is not yet CE marked) |  |  |  |  |  |  |
|  |  | Major innovation (degree 5) |  |  |  |  |  |
|  |  | Innovation (degree 4) |  |  |  |  |  |
|  |  | Substantial novelty (degree 3) |  |  |  |  |  |
|  |  | Moderate novelty (degree 2) |  |  |  |  |  |
|  |  | Minor novelty (degree 1) |  |  |  |  |  |
| ## III-9 Impact on clinical practices (from the point of view of the practitioner for a MD and/or the biologist pour an IVD) |  |  |  |  |  |  |  |
| Nil or weak |  |  |  |  |  |  |  |
| Moderate |  |  |  |  |  |  |  |
| Strong |  |  |  |  |  |  |  |

| # Part IV : PRECLINICAL ASSESSMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| ## IV-1 Progress of preclinical assessment |  |  |  |  |
|  | Not completed |  |  |  |
|  | In progress |  |  |  |
|  | Achieved |  |  |  |
| ## IV-2 Claim of conformity to the preclinical standards |  |  |  |  |
|  | Series EN ISO 10993 Biological evaluation of medical devices Specify which standards of the series |  |  |  |
|  | Vertical preclinical standards (products standards) Specify which ones (with their headings and by indicating those which are harmonized) |  |  |  |
|  | Other preclinical reference set (guidelines, home frame of reference), specify |  |  |  |
| ## IV-3 Preclinical information |  |  |  |  |
| a | The claim of conformity is based on supporting preclinical data from : |  |  |  |
|  |  | the product, aim of this summary |  |  |
|  |  | data from the scientific literature |  |  |
|  |  | a similar product, specify which one and justify the equivalence |  |  |
| ## IV-4 Sterilization of the device |  |  |  |  |
| a | Is the device sterile? |  | yes no |  |
| b | Is the device to sterilize? |  |  | yes no |
| c | Is the device to resterilize? |  |  | yes no |
| d | Type of sterilization |  |  |  |
|  |  | Irradiation γ |  |  |
|  |  | Irradiation β |  |  |
|  |  | Ethylene oxide |  |  |
|  |  | Moist heat |  |  |
|  |  | Hydrogen peroxid plasma |  |  |
|  |  | Other, specify |  |  |
| e | Claim of conformity to the standards relating to sterilization, disinfection and/or cleaning |  | Specify frames of reference |  |

| # Part V : CLINICAL ASSESSMENT |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## V-1 Progress of clinical assessment |  |  |  |  |  |  |  |  |
|  | Not completed |  |  |  |  |  |  |  |
|  | In progress |  |  |  |  |  |  |  |
|  | Achieved |  |  |  |  |  |  |  |
| ## V-2 Claim of conformity to the clinical standards |  |  |  |  |  |  |  |  |
|  | EN ISO 14155-1 & 2 Clinical investigation of medical devices for human subjects European harmonized standard |  |  |  |  |  |  |  |
|  | Vertical clinical standards (products standards) Specify which ones (with their headings and by indicating those which are harmonized) |  |  |  |  |  |  |  |
|  | Other preclinical reference set (guidelines, home frame of reference), specify |  |  |  |  |  |  |  |
| ## V-3 Clinical information |  |  |  |  |  |  |  |  |
| a | The claim of conformity is based on supporting clinical data from : |  |  |  |  |  |  |  |
|  |  | the product, aim of this summary |  |  |  |  |  |  |
|  |  | data from the scientific literature |  |  |  |  |  |  |
|  |  | a similar product, specify which one and justify the equivalence |  |  |  |  |  |  |
| b | Number of clinical trials (achieved or in progress) |  |  |  |  |  |  |  |
| c | Total number of patients included in these clinical trials |  |  |  |  |  |  |  |
| d | If clinical trials are planed, briefly describe the aim |  |  |  |  |  |  |  |
| ## V-4 Clinical data Describe the most relevant clinical data for the clinical validation of the medical device (specific data, similar device and/or literature). Copy / paste the table below as many as the number of clinical trials. |  |  |  |  |  |  |  |  |
| a | Title of the study |  |  |  |  |  |  |  |
| b | Year of the study |  |  |  |  |  |  |  |
| c | Country where the study proceeded |  |  |  |  |  |  |  |
| d | Aim of the study |  |  |  |  |  |  |  |
| e | Used devices |  |  |  |  |  |  |  |
| f | Type of study |  |  |  |  |  |  |  |
| g | Studied subjects (number, eligibility criteria) |  |  |  |  |  |  |  |
| h | Follow-up (period, frequencies of observation) |  |  |  |  |  |  |  |
| i | Assessment criteria |  |  |  |  |  |  |  |
| j | Results |  |  |  |  |  |  |  |
| ## V-5 Clinical follow-up |  |  |  |  |  |  |  |  |
| a | Since the initial CE marking or from obtaining the expected CE marking, have you implemented a clinical follow-up on the use of the device or is it planed? (Clinical follow-up corresponds to studies integrated into a process of “post market surveillance”.) |  |  |  |  |  |  | yes no |
| b | If yes, which type of clinical follow-up? |  |  |  |  |  |  |  |
|  |  | Register |  |  |  |  |  |  |
|  |  | Post Market Surveillance |  |  |  |  |  |  |
|  |  | Other, specify |  |  |  |  |  |  |
| c | Describe the setting method and specify the number of patients included in these follow-up studies |  |  |  |  |  |  |  |

| # Part VI : PERFORMANCES OF THE DEVICE Especially for IVD and MD with measuring function |  |  |
| --- | --- | --- |
| ## VI-1 Progress of performances assessment |  |  |
|  | Not completed |  |
|  | In progress |  |
|  | Achieved |  |
| ## VI-2 Performances quantification |  |  |
| a | Analytic sensitivity |  |
| b | Diagnostic sensitivity |  |
| c | Analytic specificity |  |
| d | Diagnostic specificity |  |
| e | Accuracy |  |
| f | Repeatability |  |
| g | Reproducibility |  |
| h | Interferences |  |
| i | Detection limits |  |
| j | Other performance(s), specify |  |

| # Part VII : CE MARKING AND MARKETING OF THE DEVICE |  |  |  |  |
| --- | --- | --- | --- | --- |
| ## VII-1 Progress in order to CE mark |  |  |  |  |
| a | Marking process with a notified body |  |  |  |
|  |  | CE marking file not submitted to a notified body |  |  |
|  |  | CE Marking file submitted to a notified body |  |  |
|  |  | CE marked MD |  |  |
| b | CE marking process without a notified body |  |  |  |
|  |  | Not CE marked MD |  |  |
|  |  | CE marked MD |  |  |
| ## VII-2 CE marking |  |  |  |  |
| a | Year of the first issue of CE marking |  |  |  |
| b | Identification number and name of the notified body solicited for the first CE marking |  | If applicable |  |
| c | Year of issue of the current CE marking |  |  |  |
| d | Identification number and name of the notified body solicited for the current CE marking (if different from the precedent) |  | If applicable |  |
| ## VII-3 Presence on the market |  |  |  |  |
| a | Marketing place |  |  |  |
|  |  | Europe |  |  |
|  |  | USA |  |  |
|  |  | Canada |  |  |
|  |  | China |  |  |
|  |  | Japon |  |  |
|  |  | Australia-New Zealand |  |  |
|  |  | Other, specify |  |  |
| b | Launching date in France |  |  |  |
| c | Number of treated patients since launching (France et worldwide) |  |  |  |
| ## VII-4 Internet |  |  |  |  |
| a | Web-link where supplementary information is available (dedicated website, etc.) |  |  |  |
| b | Device available for sale on Internet |  | yes no |  |
| ## VII-5 Intention of submit a fill to the French Haute Autorité de Santé (HAS) |  |  |  |  |
|  | Assessment request on medical device |  | Specify the expected ASR level and the delay |  |
|  | Assessment request on medical procedure |  | Specify the expected title and the delay |  |
|  | Registration on a generic line |  | Specify the title and the number as well as the expected delay |  |

With this summary, don’t forget to join the following documents (with the electronic format as far as possible) :

- a specimen of the labels of the device,

- a specimen of the instructions for use,

- conformity assessment certificates to applied directives,

- the CE declaration of conformity,

- the surgical technic if applicable,

- the commercial documentation.