## Instructions
Instructions: Sheet "4.1.6.1 Luminance range" This sheet calculates Luminance Ratio. No data has to be filled in. Data is extracted from sheet "4.1.6.2 DICOM GSDF". Sheet "4.1.6.2 DICOM GSDF" This sheet calculates the contrast response of the monitors of a workstation. Data for left and right monitor can be filled in. DICOM GSDF is calculated (on basis of minimal and maximal luminance of the monitor) and results are shown in a graph. Because the (log-)graph can't show zero-values a warning is given when the graph is drawn. This happens every time a value is filled in. To prevent this you can switch off the automatic calculation (to calculate press F9). Sheet "4.1.7 Luminance uniformity" This sheet calculates the uniformity of the monitor. Data of the luminance at different positions on the monitor can be filled in. Update information: 16-08-2006: Changed the formula for computation of difference between left and right monitors (sheet 4.1.6.2 DICOM GSDF: Cels B135, B136). Changed the formula for computation of max. luminance deviation (sheet 4.1.7 Luminance uniformity: Cels G8, H8, G19, H19). MonitorCheck Copyright (C) LRCB This software is made available, as is and LRCB does not make any warranty about the software, its performance, its fitness for any particular use, freedom from any computer diseases or its conformity to any specification. The entire risk of using the software is with the user. The user is allowed to use, copy and distribute the software. The software may only be distributed as a whole and the distribution of the software must be on the basis that no payment will be received by the user for such distribution, either directly or indirectly.

## 4.1.6.1 Luminance range
4.1.6.1 Luminance range
Lmax and Lmin: | use measurement of 4.1.6.2 DICOM Greyscale Standard Display Function
| Left monitor: | Right monitor:
Lmax |  |  | Cd/m2
Lmin |  |  | Cd/m2
Luminance ratio |  |  | -

## 4.1.6.2 DICOM GSDF
4.1.6.2 DICOM Grayscale Standard Display Function
Left Monitor:
Measured luminance values: | [5 empty] | DICOM 3.14 standard:
testpattern |  | Luminance | JND |  | deviation compared | testpattern |  | Luminance | JND |  | dL/L | dL/L
TG18-LN12-# | p-value | L | j(L) | dL/L | to DICOM (%) | TG18-LN12-# | p-value | L | j(L) | dL/L | +10% | -10%
1 | 0 |  |  |  |  | 1 | 0
2 | 240 |  |  |  |  | 2 | 240
3 | 480 |  |  |  |  | 3 | 480
4 | 720 |  |  |  |  | 4 | 720
5 | 960 |  |  |  |  | 5 | 960
6 | 1200 |  |  |  |  | 6 | 1200
7 | 1440 |  |  |  |  | 7 | 1440
8 | 1680 |  |  |  |  | 8 | 1680
9 | 1920 |  |  |  |  | 9 | 1920
10 | 2160 |  |  |  |  | 10 | 2160
11 | 2400 |  |  |  |  | 11 | 2400
12 | 2640 |  |  |  |  | 12 | 2640
13 | 2880 |  |  |  |  | 13 | 2880
14 | 3120 |  |  |  |  | 14 | 3120
15 | 3360 |  |  |  |  | 15 | 3360
16 | 3600 |  |  |  |  | 16 | 3600
17 | 3840 |  |  |  |  | 17 | 3840
18 | 4080 |  |  |  |  | 18 | 4080
Result contrast response left monitor: | [7 empty] | lineair relation between p-value and JND:
a:
b:
Right Monitor:
Measured luminance values: | [5 empty] | DICOM 3.14 standard:
testpattern |  | Luminance | JND |  | deviation compared | testpattern |  | Luminance | JND |  | dL/L | dL/L
TG18-LN12-# | p-value | L | j(L) | dL/L | to DICOM (%) | TG18-LN12-# | p-value | L | j(L) | dL/L | +10% | -10%
1 | 0 |  |  |  |  | 1 | 0
2 | 240 |  |  |  |  | 2 | 240
3 | 480 |  |  |  |  | 3 | 480
4 | 720 |  |  |  |  | 4 | 720
5 | 960 |  |  |  |  | 5 | 960
6 | 1200 |  |  |  |  | 6 | 1200
7 | 1440 |  |  |  |  | 7 | 1440
8 | 1680 |  |  |  |  | 8 | 1680
9 | 1920 |  |  |  |  | 9 | 1920
10 | 2160 |  |  |  |  | 10 | 2160
11 | 2400 |  |  |  |  | 11 | 2400
12 | 2640 |  |  |  |  | 12 | 2640
13 | 2880 |  |  |  |  | 13 | 2880
14 | 3120 |  |  |  |  | 14 | 3120
15 | 3360 |  |  |  |  | 15 | 3360
16 | 3600 |  |  |  |  | 16 | 3600
17 | 3840 |  |  |  |  | 17 | 3840
18 | 4080 |  |  |  |  | 18 | 4080
Result contrast response right monitor: | [7 empty] | lineair relation between p-value and JND:
a:
b:
Result relation between p-value and JND-index:
Difference between left and right monitors:
difference (%)
Lmax
Lmin

## 4.1.7 Luminance uniformity
4.1.7 Luminance uniformity
testpattern
TG18_UNL10:
monitor
| left | right |  |  | left | right
upper left |  |  | Cd/m2 | max. luminance deviation: |  |  | %
upper right |  |  | Cd/m2
centre |  |  | Cd/m2
bottom left |  |  | Cd/m2
bottom right |  |  | Cd/m2
testpattern
TG18_UNL80:
monitor
| left | right |  |  | left | right
upper left |  |  | Cd/m2 | max. luminance deviation: |  |  | %
upper right |  |  | Cd/m2
centre |  |  | Cd/m2
bottom left |  |  | Cd/m2
bottom right |  |  | Cd/m2