Briefing Book

Briefing Book

January 2020

January 2020

Medical devices

In vitro diagnostic medical devices

Medical devices

In vitro diagnostic medical devices

Contents

I.	General information	3

I-1. Medical indications	3

I-2. Product development rationale	3

(Justification of product creation)	3

I-3. Target patients	3

I-4. Additional information	4

II.	Regulatory information	5

III.	Product information	6

III-1. Product composition	6

III-2. Product Cleaning / Disinfection / Sterilisation	7

IV.	Non-clinical evaluation	7

IV-1. Non-clinical recommendations	7

IV-2. Non-clinical information	7

V.	Clinical evaluation	8

V-1. Clinical information	8

V-2. Study “XXX” (In the event of several studies, complete another section V-2)	8

V-3. Additional information	8

VI.	Device performance (particularly for IVDMDs and MDs with a measuring function)	9

VII.	CE marking and marketing of the device	9

VII-1. Progress status with a view to CE marking	9

VII-2. CE marking (position with respect to art 54 procedure)	9

VII-3. Market presence	10

VIII.	QUESTIONS (6 maximum) and supported draft RESPONSES	10

- General information

I-1. Medical indications

| a | Product description |  |
| --- | --- | --- |
| b | Intended purpose / medical indication |  |
| c | Associated medical procedures |  |
| d | Place in the therapeutic strategy |  |

I-2. Product development rationale

(Justification of product creation)

I-3. Target patients

| a | Gender | ☐ male ☐ female |
| --- | --- | --- |
| b | Age |  |
| d | Expected number in France |  |
| e | Users concerned | ☐ Healthcare professionals ☐ Patients (condoms, self-test, etc.) |
| f | If healthcare professionals concerned, which? |  |

I-4. Additional information

| a | Impact on clinical practices (from the point of view of the practitioner for an MD and/or the biologist for an IVDMD) | ☐ Nil or low ☐ Moderate ☐ Strong |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Justification: |  |  |  |  |
| b | Degree of novelty | ☐ Substantial novelty with incremental technology and moderate clinical impact ☐ Innovation with technological breakthrough or strong clinical impact ☐ Major innovation with technological breakthrough and strong clinical impact ☐ Other (specify): |  |  |  |  |
|  |  | Justification with Package leaflet to be transmitted |  |  |  |  |
| c | Iteration of an existing device | ☐ yes ☐ no |  |  |  |  |
|  |  | If yes, which? |  |  |  |  |
|  |  | If yes, modification | ☐ |  | of purpose / indication |  |
|  |  |  | ☐ |  | of quality system (Modification of manufacturing process, etc.) |  |
|  |  |  | ☐ |  | of design |  |
|  |  |  | ☐ |  | of performance (Reduction of detection threshold, etc.) |  |
|  |  |  | ☐ |  | of user population |  |
|  |  |  | ☐ |  | other, specify |  |

- Regulatory information

| a | Specify the applicable Directives/regulation: (see FAQ) | ☐ 90/385/EEC relating to active implantable medical devices ☐ 93/42/EEC concerning medical devices ☐ 98/79/EC on in vitro diagnostic medical devices ☐ Regulation (EU) 2017/745 on medical devices ☐ Regulation (EU) 2017/746 on in vitro diagnostic medical devices ☐ Regulation (EU) 207/2012 on electronic instructions for use of medical devices ☐ Regulation (EU) 722/2012/EC concerning particular requirements with respect to active implantable medical devices and medical devices manufactured utilising tissues of animal origin ☐ Other, specify |
| --- | --- | --- |
| b | Specify the CND classification (optional): |  |
| c | Presence of a person responsible for regulations within the company | ☐ yes ☐ no |
| d | Presence of a person responsible for quality assurance within the company | ☐ yes ☐ no |
| e | Detail the conformity assessment procedures (specify the annexes implemented) |  |

- Product information

III-1. Product composition

| a | Device composition |  |  |
| --- | --- | --- | --- |
| B | Device containing a medicinal product (Directive 2001/83/EC) |  | ☐ yes ☐ no |
|  | Nature |  |  |
|  | Competent regulatory body |  |  |
|  | Description of usefulness of addition of the substance |  |  |
|  | Progress status of the procedures concerning the medicinal product and list of the competent authorities consulted in the procedures |  | Free text field |
| C | Device containing a blood component (Directives 2000/70/EC and 2001/104/EC) |  | ☐ yes ☐ no |
|  | Nature |  |  |
|  | Competent regulatory body |  |  |
|  | Description of usefulness of addition of the substance |  |  |
|  | Progress status of the procedures concerning the blood component and list of the competent authorities included in the procedures |  | Free text field |
| D | Device containing a product of animal origin |  | ☐ yes ☐ no |
|  | Nature |  | (e.g.: collagen) |
|  | Source / Origin |  | (e.g.: porcine, bovine) |
|  | Description of usefulness of addition of the substance |  |  |
|  | Progress status of the procedures concerning the product of animal origin and list of the competent authorities included in the procedures |  | Free text field |
| E | Device containing nano-elements |  | ☐ yes ☐ no |
|  | Nature |  |  |
|  | Description of usefulness of use of nano-elements |  |  |
| F | Device containing an artificial radionuclide |  | ☐ yes ☐ no |
| G | Device emitting ionising radiation |  | ☐ yes ☐ no |
| H | Device containing latex |  | ☐ yes ☐ no |
| I | Device containing phthalates |  | ☐ yes ☐ no |
| J | Devices containing CMR substances and toxic to reproduction (Regulation (EU) 2017/745 An I chap II E 10.4.1) |  | ☐ yes ☐ no Specify the substances and justify their addition |
| K | Presence of software - Use - Production - Storage of patient data - Existence of connectivity feature |  | ☐ yes ☐ no Free text field Free text field ☐ yes ☐ no ☐ yes ☐ no |
| L | Additional information |  |  |

III-2. Product Cleaning / Disinfection / Sterilisation

| a | Is the product: | ☐ Sterile ☐ To be sterilised ☐ To be disinfected |  |
| --- | --- | --- | --- |
| d | Specify the type of sterilisation: |  | Select an item |
| e | Claim relative to conformity with sterilisation, disinfection and/or cleaning standards |  | Free text field to be supported |

- Non-clinical evaluation

IV-1. Non-clinical recommendations

| Non-clinical evaluation status | Select an item |
| --- | --- |
| ☐ EN ISO 10993 series ☐ Chemical characterisation performed ☐ Biological risk assessment ☐ Other | Specify Specify☐ On the MD ☐ Equivalence claim |
| List of harmonised standards claimed | Specify |
| List of non-harmonised standards claimed | Specify |
| Technical specification lists followed | Specify |

IV-2. Non-clinical information

The conformity claim is based on non-clinical data specifically concerning Select an item:

In the event of an equivalent product, specify which and justify the equivalence

- Clinical evaluation

|  | Clinical development strategy ☐ Clinical investigations on the MD/performance studies on the IVDMD ☐ Equivalence ☐ Bibliography |  |
| --- | --- | --- |

V-1. Clinical information

| a | Number of clinical investigations/performance studies (completed or ongoing) |  |
| --- | --- | --- |
| b | Total number of patients included in these trials and in France |  |
| c | If clinical trials are planned, provide a brief description of their aim |  |

V-2. Study “XXX” (In the event of several studies, complete another section V-2)

| a | Study title (and Eudract No.) |  |
| --- | --- | --- |
| b | Study year |  |
| c | Country where the study was conducted |  |
| d | Study aim |  |
| e | Devices used |  |
| f | Study type |  |
| g | Study subjects (number, inclusion criteria) |  |
| h | Follow-up (duration, observation frequency) |  |
| i | Assessment criteria |  |
| p | Results |  |

V-3. Additional information

| a | Description of planned auxiliary medicinal products The planned concomitant therapies (authorised and prohibited) comply with the recommendations detailed in the documents provided in support of the clinical trial authorisation application (IB/SmPC): (Any divergence must be justified) |  |
| --- | --- | --- |
| b | Risk management strategy |  |

- Device performance
(particularly for IVDMDs and MDs with a measuring function)

| a | Analytical sensitivity |  |
| --- | --- | --- |
| b | Diagnostic sensitivity |  |
| c | Analytical specificity |  |
| d | Diagnostic specificity |  |
| e | Accuracy |  |
| f | Repeatability |  |
| g | Reproducibility |  |
| h | Interference |  |
| i | Limits of detection |  |
| j | Other performance(s), specify: |  |

- CE marking and marketing of the device

VII-1. Progress status with a view to CE marking

Marking procedure Select an item

Specify whether the MD falls within the scope of the special procedure defined in article 54 of regulation (EU) 745/2017.

VII-2. CE marking (position with respect to art 54 procedure)

| a | Year of first application of CE mark |  |
| --- | --- | --- |
| b | Identification number and name of the notified body consulted for the first CE mark |  |
| c | Year of application of the current CE mark |  |
| d | Identification number and name of the notified body consulted for the current CE mark (if different from above) | If applicable |
| e | Other information: Information about the company conducting the product (age, size, presence on the medical device market, organisation chart) | Free text field |
|  | QMS maturity (certification obtained?), | If applicable - Certification obtained - Composition of subcontracted steps - Consultant used |

VII-3. Market presence

| a | Current or envisaged place of marketing ☐ Europe ☐ USA ☐ Canada ☐ China ☐ Japan ☐ Australia-New Zealand ☐ Other, specify | Specify the records, approvals obtained or project status |
| --- | --- | --- |

- QUESTIONS (6 maximum) and supported draft RESPONSES

Question

Draft response

| I hereby certify that the information provided in this document is accurate |  |  |
| --- | --- | --- |
| Signed on: | Signatory’s surname and first name |  |
|  | Signature |  |